## Alert Comparison
Alert Comparison between Real-time Device Alert Vs AI Alert
Alerts : Zanitor infrastructure picks device status every half an hour & those will be published in real-time to the mornitoring system(Device level). Whereas Clean-Index would measure(Rest room level) the usage of rest-room materials and would send out the alert when these material levels (cumulative) are reached Threshold (Threshold time is the point where Rest-room would reach out of material (atleast one device) in an hour. So CI would be pre-active of one-hour to manage FMS to clean or replinish the Restroom
Parameters | Alert Window | Device Level Alert (Cumulative) | Device Level Alert (Unique) | AI alert (Clean Index) | Remark
Day 1 (Tue) | 00:00-03:00 | 0 | 0 | 0 | Al Alerts are sync with Device Alerts in 3 hr Time window. Ratio of Device & AI alerts is 7:4
| 03:00-06:00 | 0 | 0 | 0
| 06:00-09:00 | 1 | 1 | 0
| 09:00-12:00 | 2 | 1 | 1
| 12:00-15:00 | 6 | 3 | 2
| 15:00-18:00 | 5 | 2 | 1
| 18:00-21:00 | 0 | 0 | 0
| 21:00 -24:00 | 0 | 0 | 0
Day 2 (Wed) | 00:00-03:00 | 0 | 0 | 0 | One AI alert is not sync with Device Alerts because they have been alerted but not address in this period , Highlighted in Blue
| 03:00-06:00 | 0 | 0 | 0
| 06:00-09:00 | 1 | 1 | 0
| 09:00-12:00 | 5 | 2 | 1
| 12:00-15:00 | 0 | 0 | 2
| 15:00-18:00 | 1 | 1 | 1
| 18:00-21:00 | 0 | 0 | 0
| 21:00 -24:00 | 0 | 0 | 0
Day 3 (Thu) | 00:00-03:00 | 0 | 0 | 0 | Both are sync except one (highlighted in blue) due to the same reason of Day 2
| 03:00-06:00 | 0 | 0 | 0
| 06:00-09:00 | 1 | 1 | 0
| 09:00-12:00 | 0 | 0 | 1
| 12:00-15:00 | 7 | 5 | 1
| 15:00-18:00 | 4 | 2 | 1
| 18:00-21:00 | 0 | 0 | 0
| 21:00 -24:00 | 0 | 0 | 0
Day 4 (Fri) | 00:00-03:00 | 0 | 0 | 0 | Both are synchronized in 3 hour time window
| 03:00-06:00 | 0 | 0 | 0
| 06:00-09:00 | 0 | 0 | 0
| 09:00-12:00 | 0 | 0 | 1
| 12:00-15:00 | 12 | 4 | 1
| 15:00-18:00 | 0 | 0 | 1
| 18:00-21:00 | 0 | 0 | 0
| 21:00 -24:00 | 0 | 0 | 0
|  | 45 | 23 | 14

## Cleaning Comparison - Visual
Cleaning Behaviour - Comparison
Cleaning Behaviour - Pattern
| Cisco - Manual | Zanitor - Automation | BIT - Schedule

## Cleaning Schedule - Comparison
Cleaning Schedule - Manual Vs Cleaning Index Vs BIT Schedule
Findings: Total number of cleaning schedule by CISCO Vs Zanitor Vs BIT ….13:14:17 (4 days Period)
| CISCO - Manual |  |  |  | Clean Index - Schedule | [8 empty] | BIT Schedule
Parameters | Clean Time | Traffic count | Material Usage | #Clean | Alert Time | Traffic count | Material Usage | #Alert - Clean | Red device Name | Device Stage | Paper_Stage | Toilet_Stage | Trash_Stage | C.Sch Time | Traffic Count | Material Usage | #Alert - Clean | Red Device Name | Device Stage
Day 1 (Tue) | 8:00 | 135 | 3R | 3 | 9:30 | 140 | 2R,1Y | 4 | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 | 75,95 | 98,56,100,93 | 83 | 11:00 | 259 | 2R,1Y | 4 | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
| 9:30 | 5 | 2R,1Y |  | 12:30 | 140 | 3R |  | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 92,0,0 | 72,89 | 98,49,100,89 | 87 | 13:00 | 115 | 3R |  | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 92,0,0
| 16:30 | 387 | 2R,1Y |  | 14:30 | 122 | 3R,2Y |  | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 104,0,0 | 71,87 | 98,49,100,100,89 | 92 | 15:00 | 128 | 3R,2Y |  | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 112,0,0
[5 empty] | 17:00 | 127 | 2R,2Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 | 71,86 | 98,49,100,89 | 92 | 16:00 | 60 | 5R,2Y |  | ['ToiletPaper370' 'ToiletPaper357' 'TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 4,15,112,0,0
Day 2 (Wed) | 8:00 | 156 | 2R,2Y | 3 | 10:00 | 172 | 3R | 4 | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 92,0,0 |  |  |  | 11:00 | 181 | 3R | 4 | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 92,0,0
| 15:00 | 291 | 2R,2Y |  | 13:00 | 147 | 3R |  | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 104,0,0, |  |  |  | 13:00 | 113 | 3R |  | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 104,0,0
| 16:30 | 91 | 2R |  | 15:00 | 126 | 2R,2Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 |  |  |  | 15:00 | 121 | 2R,2Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
[5 empty] | 17:00 | 108 | 2R,1Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 |  |  |  | 16:00 | 67 | 3R,2Y |  | ['TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 87,0,0
Day 3 (Thu) | 7:00 | 145 | 2R,1Y | 5 | 10:00 | 167 | 2R,1Y | 3 | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 |  |  |  | 11:00 | 240 | 2R,3Y | 4 | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
| 9:00 | 7 | 2R |  | 13:00 | 128 | 4R,5Y |  | ['ToiletPaper326' 'TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 13,92,0,0 |  |  |  | 13:00 | 103 | 4R,5Y |  | ['ToiletPaper326' 'TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 20,92,0,0
| 13:00 | 160 | 4R,5Y |  | 16:30 | 162 | 2R,1Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 |  |  |  | 15:00 | 99 | 2R,2Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
| 14:30 | 68 | 3R,6Y | [10 empty] | 16:00 | 38 | 2R,1Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
| 16:00 | 75 | 2R,1Y
Day 4 (Friday) | 7:00 | 119 | 2R | 2 | 10:30 | 174 | 2R | 3 | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 |  |  |  | 11:00 | 225 | 2R,2Y | 4 | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
| 14:00 | 227 | 7R |  | 13:30 | 153 | 5R,1Y |  | ['ToiletPaper360' 'ToiletPaper384' 'TrashLevel52' 'SoapDispenser24' 'SoapDispenser67'] | 13,15,96,0,0 |  |  |  | 13:00 | 105 | 3R,1Y |  | ['ToiletPaper360' 'SoapDispenser24' 'SoapDispenser67'] | 13,0,0
[5 empty] | 16:30 | 149 | 2R,1Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0 |  |  |  | 15:00 | 97 | 2R,2Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
[14 empty] | 16:00 | 52 | 2R,1Y |  | ['SoapDispenser24' 'SoapDispenser67'] | 0,0
Total Cleaning Alert |  |  |  | 13 |  |  |  | 14 | [8 empty] | 16

## Zanitor Behaviour Data
Area 26
Device Alert with Traffic count
Date Time | Time Window# | RED (<15%) | Yellow (15 - 50%) | Traffic # | Clean Index | CISCO - Cleaning/Replacing | AI.Alert | Sum.Traffic | Status.Components | Item.Componensts | qnty.Components | Rule
2020-02-03 17:00 | 35 | 2 | 2 | 30 | 0.2251
2020-02-03 17:30 | 36 | 2 | 2 | 20 | 0.1605
2020-02-03 18:00 | 37 | 3 | 1 | 30 | 0.14208
2020-02-03 18:30 | 38 | 4 | 0 | 17 | 0.13193
2020-02-03 19:00 | 39 | 4 | 0 | 9 | 0.040852
2020-02-03 19:30 | 40 | 4 | 0 | 12 | 0.06938
2020-02-03 20:00 | 41 | 4 | 0 | 8 | 0.046256
2020-02-03 20:30 | 42 | 4 | 1 | 3 | 0.010627
2020-02-03 21:00 | 43 | 4 | 1 | 2 | 0.033981
2020-02-03 21:30 | 44 | 4 | 1 | 3 | 0.030825
2020-02-03 22:00 | 45 | 4 | 1 | 0 | 6.7215e-06
2020-02-03 22:30 | 46 | 4 | 1 | 1 | 0.0035467
2020-02-03 23:00 | 47 | 4 | 1 | 0 | 6.7215e-06
2020-02-03 23:30 | 48 | 4 | 1 | 0 | 6.7215e-06
2020-02-04 | 1 | 4 | 1 | 0 | 0.0089714
2020-02-04 00:30 | 2 | 4 | 1 | 0 | 6.72e-06
2020-02-04 01:00 | 3 | 4 | 1 | 0 | 6.72e-06
2020-02-04 01:30 | 4 | 4 | 1 | 0 | 6.72e-06
2020-02-04 02:00 | 5 | 4 | 1 | 0 | 6.72e-06
2020-02-04 02:30 | 6 | 4 | 1 | 0 | 6.72e-06
2020-02-04 03:00 | 7 | 4 | 1 | 0 | 6.72e-06
2020-02-04 03:30 | 8 | 4 | 1 | 0 | 6.72e-06
2020-02-04 04:00 | 9 | 4 | 1 | 0 | 6.72e-06
2020-02-04 04:30 | 10 | 4 | 1 | 0 | 6.72e-06
2020-02-04 05:00 | 11 | 4 | 1 | 0 | 6.72e-06
2020-02-04 05:30 | 12 | 4 | 1 | 0 | 0.014983
2020-02-04 06:00 | 13 | 4 | 1 | 0 | 0.0089925
2020-02-04 06:30 | 14 | 4 | 1 | 0 | 0.0089925
43865.2917 | 15 | 4 | 1 | 0 | 6.72e-06
43865.3125 | 16 | 4 | 1 | 0 | 6.72e-06
43865.3333 | 17 | 3 | 0 | 0 | 0.0089925 | Cleaning / Replacing
43865.3542 | 18 | 3 | 0 | 0 | 6.72e-06
43865.375 | 19 | 3 | 0 | 5 | 0.017706
43865.3958 | 20 | 2 | 1 | 13 | 0.23913 | Cleaning / Replacing | Alert | 140 | 2 Red, 1 Yello | 2 Soap, 1 Trash | 0,0, 50-85% | if (2 device 0, & 1 btw 50-85 & Tc>120)
43865.4167 | 21 | 2 | 1 | 18 | 0.066721
43865.4375 | 22 | 2 | 1 | 24 | 0.23076
2020-02-04 11:00 | 23 | 2 | 1 | 29 | 0.24629
2020-02-04 11:30 | 24 | 2 | 1 | 32 | 0.21793
2020-02-04 12:00 | 25 | 2 | 1 | 24 | 0.23749
2020-02-04 12:30 | 26 | 3 | 0 | 33 | 0.25966 |  | Alert | 140 | 3 Red | 2 Soap & 1Trash | 0,0,85% | if(2 device 0, & 1 btw >85% & Tc>120
2020-02-04 13:00 | 27 | 3 | 0 | 26 | 0.26244
2020-02-04 13:30 | 28 | 3 | 0 | 32 | 0.23597
2020-02-04 14:00 | 29 | 3 | 2 | 31 | 0.35202
2020-02-04 14:30 | 30 | 3 | 2 | 36 | 0.23814 |  | Alert | 122 | 3 Red & 2 Yello | 2Soap , 1Trash &2 Toilet | 0,0,85%,50,50 | if(2device 0, & 1 btw >85% & 2 btw 15-50 & Tc>120)
2020-02-04 15:00 | 31 | 3 | 2 | 29 | 0.23433
2020-02-04 15:30 | 32 | 4 | 3 | 31 | 0.25035
2020-02-04 16:00 | 33 | 5 | 2 | 29 | 0.22828
2020-02-04 16:30 | 34 | 2 | 1 | 2 | 0.078826 | Cleaning / Replacing
2020-02-04 17:00 | 35 | 2 | 2 | 22 | 0.16099 |  | Alert | 127 | 2Red & 2 Yellow | 2Soap, 2Paper | 0,0,15-50% | if(2device 0, & 2 btw 15-50% & Tc>120)
2020-02-04 17:30 | 36 | 2 | 3 | 32 | 0.25914
2020-02-04 18:00 | 37 | 2 | 3 | 20 | 0.20175
2020-02-04 18:30 | 38 | 2 | 3 | 20 | 0.20175
2020-02-04 19:00 | 39 | 2 | 3 | 18 | 0.20175
2020-02-04 19:30 | 40 | 2 | 3 | 16 | 0.20175
2020-02-04 20:00 | 41 | 2 | 3 | 18 | 0.20175
2020-02-04 20:30 | 42 | 2 | 3 | 3 | 0.20175
2020-02-04 21:00 | 43 | 2 | 3 | 1 | 6.72e-06
2020-02-04 21:30 | 44 | 2 | 3 | 0 | 6.72e-06
2020-02-04 22:00 | 45 | 2 | 3 | 1 | 0.012532
2020-02-04 22:30 | 46 | 2 | 3 | 2 | 0.096944
2020-02-04 23:00 | 47 | 2 | 3 | 1 | 0.0035467
2020-02-04 23:30 | 48 | 2 | 3 | 0 | 6.72e-06
2020-02-05 | 1 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 00:30 | 2 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 01:00 | 3 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 01:30 | 4 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 02:00 | 5 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 02:30 | 6 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 03:00 | 7 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 03:30 | 8 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 04:00 | 9 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 04:30 | 10 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 05:00 | 11 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 05:30 | 12 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 06:00 | 13 | 2 | 3 | 0 | 0.0089714
2020-02-05 06:30 | 14 | 2 | 3 | 0 | 0.0089925
2020-02-05 07:00 | 15 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 07:30 | 16 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 08:00 | 17 | 2 | 2 | 0 | 6.7215e-06 | Cleaning / Replacing
2020-02-05 08:30 | 18 | 2 | 1 | 0 | 6.7215e-06
2020-02-05 09:00 | 19 | 3 | 0 | 7 | 0.078641
2020-02-05 09:30 | 20 | 3 | 0 | 11 | 0.047932
2020-02-05 10:00 | 21 | 3 | 0 | 17 | 0.12228 |  | Alert | 172 | 3Red | 1Trash,2 Soap | 0,0,85% | if(2device 0 & 1 btw>85% &Tc>120)
2020-02-05 10:30 | 22 | 3 | 0 | 26 | 0.26261
2020-02-05 11:00 | 23 | 3 | 0 | 20 | 0.12464
2020-02-05 11:30 | 24 | 3 | 0 | 27 | 0.095564
2020-02-05 12:00 | 25 | 3 | 0 | 28 | 0.20375
2020-02-05 12:30 | 26 | 3 | 0 | 29 | 0.13549
2020-02-05 13:00 | 27 | 3 | 0 | 29 | 0.37791 |  | Alert | 147 | 3 Red | 1Trash, 2Soap | 0,0,85% | if(2device 0 & 1 btw >85% &Tc>120)
2020-02-05 13:30 | 28 | 3 | 1 | 38 | 0.38269
2020-02-05 14:00 | 29 | 3 | 1 | 32 | 0.18209
2020-02-05 14:30 | 30 | 3 | 1 | 27 | 0.13675
2020-02-05 15:00 | 31 | 2 | 2 | 24 | 0.4187 | Cleaning / Replacing | Alert | 126 | 2Red & 2 Yellow | 2Soap, 1Toilet,1Trash | 0,0,50%50% | if(2device 0 & 1device >50% & 1device <50 & Tc>120
2020-02-05 15:30 | 32 | 2 | 3 | 32 | 0.28903
2020-02-05 16:00 | 33 | 3 | 2 | 35 | 0.30035
2020-02-05 16:30 | 34 | 2 | 0 | 17 | 0.12527 | Cleaning / Replacing
2020-02-05 17:00 | 35 | 2 | 1 | 24 | 0.28482 |  | Alert | 108 | 2Red & 1Yellow | 2Soap, 1Trash | 0,0, 50% | if(2device 0 & 1 >50% &Tc>100)
2020-02-05 17:30 | 36 | 2 | 1 | 26 | 0.17279
2020-02-05 18:00 | 37 | 2 | 1 | 18 | 0.17667
2020-02-05 18:30 | 38 | 2 | 2 | 17 | 0.17388
2020-02-05 19:00 | 39 | 2 | 2 | 12 | 0.054446
2020-02-05 19:30 | 40 | 2 | 2 | 11 | 0.065861
2020-02-05 20:00 | 41 | 2 | 3 | 5 | 0.044643
2020-02-05 20:30 | 42 | 2 | 3 | 6 | 0.039198
2020-02-05 20:30 | 42 | 2 | 3 | 0 | 0.039198
2020-02-05 20:30 | 42 | 2 | 3 | 6 | 6.7215e-06
2020-02-05 20:30 | 42 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 21:00 | 43 | 2 | 3 | 1 | 0.0035467
2020-02-05 21:00 | 43 | 2 | 3 | 0 | 0.0035467
2020-02-05 21:00 | 43 | 2 | 3 | 1 | 6.7215e-06
2020-02-05 21:00 | 43 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 21:30 | 44 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 22:00 | 45 | 2 | 3 | 1 | 0.030462
2020-02-05 22:30 | 46 | 2 | 3 | 0 | 0.0089925
2020-02-05 23:00 | 47 | 2 | 3 | 0 | 6.7215e-06
2020-02-05 23:30 | 48 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 | 1 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 00:30 | 2 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 01:00 | 3 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 01:30 | 4 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 02:00 | 5 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 02:30 | 6 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 03:00 | 7 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 03:30 | 8 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 04:00 | 9 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 04:30 | 10 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 05:00 | 11 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 05:30 | 12 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 06:00 | 13 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 06:30 | 14 | 2 | 3 | 0 | 6.7215e-06
2020-02-06 07:00 | 15 | 2 | 1 | 0 | 6.7215e-06 | Cleaning / Replacing
2020-02-06 07:30 | 16 | 2 | 1 | 0 | 0.0089925
2020-02-06 08:00 | 17 | 2 | 1 | 0 | 0.10593
2020-02-06 08:30 | 18 | 2 | 1 | 7 | 0.044667
2020-02-06 09:00 | 19 | 2 | 0 | 6 | 0.31315 | Cleaning / Replacing
2020-02-06 09:30 | 20 | 2 | 0 | 26 | 0.17279
2020-02-06 10:00 | 21 | 2 | 1 | 2 | 0.19569 |  | Alert | 167 | 2Red, 1Yellow | 2Soap, 1Trash | 0,0,50% | if(2device=0 & I btw >50% & Tc>120)
2020-02-06 10:30 | 22 | 2 | 1 | 22 | 0.28367
2020-02-06 11:00 | 23 | 2 | 3 | 28 | 0.17989
2020-02-06 11:30 | 24 | 2 | 3 | 32 | 0.24938
2020-02-06 12:00 | 25 | 2 | 3 | 20 | 0.36275
2020-02-06 12:30 | 24 | 3 | 4 | 24 | 0.3536
2020-02-06 13:00 | 25 | 4 | 5 | 22 | 0.25342 | Cleaning / Replacing | Alert | 128 | 4Red,5Yellow | 2Soap,3Toilet,1Trash,2Paper | 15%,85% | if(2device=0 & 1 btw(15-50) &2 btw(15-50)&1 btw >85% & Tc>120)
2020-02-06 13:30 | 28 | 3 | 5 | 22 | 0.17962
2020-02-06 14:00 | 29 | 3 | 5 | 24 | 0.16623
2020-02-06 14:30 | 30 | 3 | 6 | 26 | 0.2994 | Cleaning / Replacing
2020-02-06 15:00 | 31 | 2 | 1 | 30 | 0.10581
2020-02-06 15:30 | 32 | 2 | 2 | 19 | 0.094182
2020-02-06 16:00 | 33 | 2 | 1 | 19 | 0.15339 | Cleaning / Replacing
2020-02-06 16:30 | 34 | 2 | 1 | 23 | 0.18308 |  | Alert | 162 | 2Red,1Yellow | 2Soap, 1Paper | 0,0,50 | if(2device=0 & 1 btw(15-50) & Tc>120)
2020-02-06 17:00 | 35 | 2 | 2 | 23 | 0.19136
2020-02-06 17:30 | 36 | 2 | 2 | 20 | 0.13365
2020-02-06 18:00 | 37 | 2 | 2 | 12 | 0.096316
2020-02-06 18:30 | 38 | 2 | 2 | 6 | 0.04814
2020-02-06 19:00 | 39 | 2 | 2 | 5 | 0.032683
2020-02-06 19:30 | 40 | 2 | 2 | 5 | 0.080544
2020-02-06 20:00 | 41 | 2 | 2 | 2 | 0.0070866
2020-02-06 20:30 | 42 | 2 | 2 | 1 | 0.012532
2020-02-06 21:00 | 43 | 2 | 2 | 0 | 6.7215e-06
2020-02-06 21:30 | 44 | 2 | 2 | 0 | 6.7215e-06
2020-02-06 22:00 | 45 | 2 | 2 | 0 | 6.7215e-06
2020-02-06 22:30 | 46 | 2 | 2 | 0 | 6.7215e-06
2020-02-06 23:00 | 47 | 2 | 2 | 0 | 6.7215e-06
2020-02-06 23:30 | 48 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 | 1 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 00:30 | 2 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 01:00 | 3 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 01:30 | 4 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 02:00 | 5 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 02:30 | 6 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 03:00 | 7 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 03:30 | 8 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 04:00 | 9 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 04:30 | 10 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 05:00 | 11 | 2 | 2 | 0 | 6.7215e-06
2020-02-07 05:30 | 12 | 2 | 2 | 0 | 0.0089925
2020-02-07 06:00 | 13 | 2 | 2 | 2 | 0.0070866
2020-02-07 06:30 | 14 | 2 | 2 | 1 | 0.021497
2020-02-07 07:00 | 15 | 2 | 0 | 1 | 0.012511 | Cleaning / Replacing
2020-02-07 07:30 | 16 | 2 | 0 | 1 | 0.039426
2020-02-07 08:00 | 17 | 2 | 0 | 4 | 0.079254
2020-02-07 08:30 | 18 | 2 | 0 | 9 | 0.061819
2020-02-07 09:00 | 19 | 2 | 0 | 16 | 0.16142
2020-02-07 09:30 | 20 | 2 | 0 | 23 | 0.24306
2020-02-07 10:00 | 21 | 2 | 0 | 20 | 0.23542
2020-02-07 10:30 | 22 | 2 | 0 | 22 | 0.18488 |  | Alert | 174 | 2Red | 2Soap | 0,0 | if(2device=0 &Tc>120)
2020-02-07 11:00 | 23 | 2 | 2 | 29 | 0.27922
2020-02-07 11:30 | 24 | 2 | 3 | 29 | 0.366
2020-02-07 12:00 | 25 | 3 | 2 | 22 | 0.19975
2020-02-07 13:00 | 27 | 3 | 1 | 25 | 0.33905
2020-02-07 13:30 | 28 | 5 | 1 | 26 | 0.25056 |  | Alert | 153 | 5Red, 1Yellow | 2Soap,3Toilet,1Trash | 0,0,15,15,85,50 | if(2device=0 & 2device <15% &1 btw(15-50) &1 btw >85% &Tc>120)
2020-02-07 14:00 | 29 | 7 | 0 | 24 | 0.42035 | Cleaning / Replacing
2020-02-07 14:30 | 30 | 2 | 0 | 17 | 0.114
2020-02-07 15:00 | 31 | 2 | 0 | 30 | 0.25204
2020-02-07 15:30 | 32 | 2 | 0 | 28 | 0.20375
2020-02-07 16:00 | 33 | 2 | 1 | 24 | 0.17098
2020-02-07 16:30 | 34 | 2 | 1 | 23 | 0.18318 |  | Alert | 149 | 2Red , 1Yellow | 2Soap, 1Trash | 0,0,50 | if(2device=0 & 1 btw(50-85) & Tc >120)
2020-02-07 17:00 | 35 | 2 | 1 | 15 | 0.10694
2020-02-07 17:30 | 36 | 2 | 1 | 6 | 0.086334
2020-02-07 18:00 | 37 | 2 | 1 | 4 | 0.014166
2020-02-07 18:30 | 38 | 2 | 1 | 1 | 0.0035467
2020-02-07 19:00 | 39 | 2 | 1 | 1 | 0.0035467
2020-02-07 19:30 | 40 | 2 | 1 | 1 | 0.018523
2020-02-07 20:00 | 41 | 2 | 1 | 1 | 0.012532
2020-02-07 20:30 | 42 | 2 | 1 | 1 | 0.0035467
2020-02-07 21:00 | 43 | 2 | 1 | 1 | 0.0035467
2020-02-07 21:30 | 44 | 2 | 1 | 0 | 0.017957
2020-02-07 22:00 | 45 | 2 | 1 | 0 | 6.7215e-06
2020-02-07 22:30 | 46 | 2 | 1 | 0 | 6.7215e-06
2020-02-07 23:00 | 47 | 2 | 1 | 0 | 6.7215e-06
2020-02-07 23:30 | 48 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 | 1 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 00:30 | 2 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 01:00 | 3 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 01:30 | 4 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 02:00 | 5 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 02:30 | 6 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 03:00 | 7 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 03:30 | 8 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 04:00 | 9 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 04:30 | 10 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 05:00 | 11 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 05:30 | 12 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 06:00 | 13 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 06:30 | 14 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 07:00 | 15 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 07:30 | 16 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 08:00 | 17 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 08:30 | 18 | 2 | 1 | 1 | 0.0035467
2020-02-08 09:00 | 19 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 09:30 | 20 | 2 | 1 | 1 | 0.054466
2020-02-08 10:00 | 21 | 2 | 1 | 2 | 0.025038
2020-02-08 10:30 | 22 | 2 | 1 | 1 | 0.021476
2020-02-08 11:00 | 23 | 2 | 1 | 0 | 6.7215e-06
2020-02-08 11:30 | 24 | 2 | 1 | 1 | 0.0035467